NUA MODULAR

Considered architecture for modern living

Nua Focus

# Nua Focus Pod

Specification Sheet

The Nua Focus is a fully self-contained architectural pod, engineered to deliver an elevated living experience within a refined six-square-metre footprint. Conceived as a single-volume studio for one, it combines a precision-engineered structural shell with a fully integrated smart-pod system.

Every Nua Focus is finished to an extremely high quality standard. The result is a discreet, tactile, and quietly luxurious habitat suited to garden studios and executive home-offices.

## AT A GLANCE

| Model | Nua Focus |
| --- | --- |
| Collection | Nua Modular Signature Series |
| Footprint | 6 m² (2.85 m × 2.15 m) |
| Overall height | 2.30 m |
| Unit weight | Approx. 1.5 tonnes |
| Capacity | 1 – 2 occupants |
| Delivery | Fully assembled, single-lift installation |
| Certification | CE marked · ISO certified · TÜV tested |
| Structural warranty | 30 years on frame and external panel system |
| Bespoke options | Interior layout, finishes and technology fully tailorable |

## DESIGN PHILOSOPHY

The Nua Focus is shaped around a single principle: that a small space, when properly considered, should feel generous. A continuous curved profile, full-height glazing and a panoramic balcony extend the interior outward, while a restrained palette of warm timber tones, brushed metals and soft ambient lighting establish a calm, residential atmosphere within.

The pod is engineered as a sealed architectural envelope, quiet, weather-tight, and thermally stable for the Irish climate. It arrives complete: structure, services, fixtures, finishes and smart systems pre-installed, balanced and commissioned, ready for connection on site.

PRINCIPAL FEATURES

- Precision-engineered structural shell with hot-dip galvanised steel chassis and aviation-grade aluminium cladding finished in matte fluorocarbon.

- Three-layer thermal envelope with high-density polyurethane insulation, achieving year-round comfort with minimal energy demand.

- Full-height double-glazed Low-E curtain wall with thermal-break framing — exceptional clarity, acoustic isolation and solar control.

- Integrated smart-home system with voice command and a centralised control panel governing lighting, climate, audio and motorised drapery.

- Optional underfloor heating, antifreeze package and illuminated starlit ceiling for cooler climates and immersive interiors.

## CONSTRUCTION & FABRIC

| Primary frame | Reinforced seismic-rated steel structure |
| --- | --- |
| External cladding | Fluorocarbon-coated aviation-grade aluminium panel |
| Roof system | Fluorocarbon-coated aluminium with sealed weather membrane |
| Insulation | 50 mm high-density polyurethane board with closed-cell foam infill |
| Glazing | Double-tempered insulated Low-E glass with thermal-break frames |
| Floor build-up | Cement-fibre subfloor with engineered waterproof composite finish |
| Interior surfaces | Brushed aluminium ceiling and wall linings |
| Interior flooring | SPC stone-polymer composite (interior); WPC timber composite (balcony) |
| Entry | Weather-sealed door with integrated smart access control |

## SYSTEMS & TECHNOLOGY

Each Nua Focus is delivered as a fully commissioned smart habitat. A single integrated control panel, supported by hands-free voice command, manages every interior system, from lighting scenes to climate and audio.

| Smart control | Whole-pod voice-activated system with central touch panel |
| --- | --- |
| Climate | Inverter-driven wall-mounted air conditioner (1 hp class) with heating mode |
| Ventilation | Continuous fresh-air circulation system |
| Interior lighting | Recessed three-temperature LED downlights, warm 3000 K default |
| Exterior lighting | Concealed 4000 K LED perimeter strip beneath the balcony eave |
| Audio | Integrated in-ceiling sound system, voice-addressable |
| Window treatments | Motorised electric curtains, scene-linked |
| Power | Card-activated mains supply with master isolator and surge protection |
| Switchgear | European-specification fittings |
| Optional | Electric underfloor heating · antifreeze pipework · illuminated starlit ceiling · road-tow chassis |

## INTERIOR FINISHES

The standard Nua Focus interior is finished to a refined, neutral palette. Bespoke configurations, from layout adjustments through to alternative finishes, joinery and furnishings, are developed in consultation with each client.

- Ceiling and walls: continuous brushed aluminium panelling for a seamless, light-reflective interior.

- Flooring: SPC composite with stone-look surface inside; WPC timber-look composite to the balcony.

- Lighting scenes: warm 3000 K interior; cooler 4000 K exterior accent.

- Switchplates and sockets: European specification.

## APPLICATIONS

Compact, fully serviced and architecturally complete, the Nua Focus is suited to a broad range of residential and commercial settings:

- Garden studio, home office or creative retreat.

## BESPOKE COMMISSIONS

Every element of the Nua Focus from internal layout, finishes, glazing configuration, smart-system specification and exterior palette, can be tailored to project requirements. Our design team works directly with clients, architects and operators to develop pods that complement their site, brand and end-use.

## Gallery